Gibsons Landing Form and Character DPA Criteria

|  | Criteria Met? | Comments / Drawing Reference |
| --- | --- | --- |
| Public Realm |  |  |
| Building design provides a variety of textures and details to create visual interest and activate streets and pedestrian-oriented spaces |  |  |
| Development incorporates public-realm enhancements (e.g., covered entrances, street furniture, patios, landscaping, lighting, garbage receptacles) |  |  |
| Commercial services with limited street transparency (e.g., banks, offices) are located above grade or at the extremities of the Gibsons Landing commercial area |  |  |
| Buildings and structures are pedestrian-oriented at the ground level |  |  |
| Ground-level pedestrian orientation is achieved through emphasis on fenestration |  |  |
| Architectural emphasis, awnings, or step-backs are provided at the first or second storey to impart pedestrian scale |  |  |
| Weather protection is provided along pedestrian routes using awnings, arcades, or canopies integral to the building form (maximum 3.5 m above finished grade) |  |  |
| Street-level shopfronts are highly transparent and constructed of glass or similar materials |  |  |
| Publicly accessible pathways and/or elevators are provided between waterfront walkways and street edges where applicable |  |  |
| Pathways have a minimum width of 2.0 m and are designed for universal accessibility where feasible |  |  |
| Building design integrates First Nations, marine, heritage, and/or waterfront design elements |  |  |
| These design elements are also incorporated into street furniture, landscaping, and/or public art where possible |  |  |
|  | Criteria Met? | Comments / Drawing Reference |
| Building Form and Design |  |  |
| Building facades facing principal commercial streets or lanes emphasize the first storey to provide pedestrian-scale design |  |  |
| Buildings greater than two storeys include a minimum 3.0 m step-back above the second storey |  |  |
| Commercial uses facing a street provide all-season weather protection (canopies, awnings, overhangs, vestibules, recessed entrances, etc.) |  |  |
| Unobstructed view corridors (minimum 3.0 m wide) are provided at least every 30.0 m to maintain ocean views |  |  |
| Building longitudinal axis does not exceed 30.0 m in length when measured at or above 1.0 m above natural grade along Gower Point Road |  |  |
| Building massing steps with the natural grade of the land |  |  |
| Varied roof heights are provided to create interest in the roofscape and skyline |  |  |
| Street and waterfront elevations are articulated into smaller building sections |  |  |
| New development or renovations reflect the form and character of the surrounding neighbourhood |  |  |
| Historical elements of the building or property are respected and preserved where possible |  |  |
| Transitions – Fencing and Landscaping |  |  |
| Transitions between the waterfront walkway and adjoining properties emphasize landscape elements |  |  |
| Marine shoreline landscaping is reviewed by a Qualified Environmental Professional and complies with the ESA DPA |  |  |
| Fencing does not exceed 1.2 m in height and is supplemented with plant material |  |  |
| Landscaping consists primarily of local indigenous plant species |  |  |
|  | Criteria Met? | Comments / Drawing Reference |
| Large areas of non-vegetative materials (e.g., gravel, bark, mulch) are not used |  |  |
| Outdoor storage areas, mechanical equipment, waste containers, and parking areas are screened from view |  |  |
| Planted trellises are incorporated into non-vegetative screening where possible |  |  |
| Buildings and landscaping follow natural site contours and incorporate terraced forms where appropriate |  |  |
| Retaining walls are integrated as design features (e.g., walkways, steps, planted habitat, gardens, viewing areas) |  |  |
| Architectural Features |  |  |
| New commercial and mixed-use buildings emphasize individual storefronts and fine-grained facade rhythms |  |  |
| Facade widths and rhythms are consistent with surrounding buildings |  |  |
| Bright and playful colours are incorporated where appropriate to enhance vibrancy |  |  |
| Projected window bays are incorporated where feasible |  |  |
| Side-wall windows visible from the street are provided where permitted by code |  |  |
| Artistic banners and flags (without logos or advertising) are used to activate the streetscape |  |  |
| Signage |  |  |
| Signage is scaled, oriented, and sited for pedestrian visibility |  |  |
| Signage is architecturally coordinated with building design, features, and finishes |  |  |
| Signage is integrated into architectural elements (canopies, awnings, pediments, windows, or landscaped frontages) |  |  |
| Timber or wood-look materials and metal are used for signage |  |  |
| Individual carved and/or hand-painted signs are used where possible |  |  |
| Signage is externally illuminated only (no internal illumination) |  |  |
|  | Criteria Met? | Comments / Drawing Reference |
| Parking |  |  |
| Off-street parking is located underground wherever feasible |  |  |
| Where surface parking is necessary, it is internal to the development and screened from public view |  |  |
| Screening includes walls, fencing, hedging, planting, or a combination of these materials |  |  |
| Parking areas and access roads include adequate pedestrian-scale lighting |  |  |