Industrial Commercial Form & Character DPA Criteria

|  | Criteria Met? | Comments / Drawing Reference |
| --- | --- | --- |
| Building Form & Design |  |  |
| Building design is compatible with surrounding development and land uses and incorporates visual interest to avoid a monotonous appearance or blank walls |  |  |
| Monolithic structures and long expanses of straight walls facing roadways are avoided |  |  |
| Walls facing roadways incorporate elements such as windows, entrances, or sloped roofs to add variety and vertical definition |  |  |
| Larger buildings are designed to create the impression of smaller blocks or units |  |  |
| Buildings and structures are pedestrian-oriented at the ground level |  |  |
| Ground-level pedestrian orientation is achieved through fenestration, architectural emphasis, step-backs, or weather protection |  |  |
| Weather protection is provided along pedestrian routes using awnings, arcades, or canopies integral to the building form (maximum 3.5 m above finished grade) |  |  |
| Buildings are finished in painted or coated metal, wood, or textured concrete rather than untreated flat concrete block |  |  |
| Buildings and structures appear permanent in nature and not temporary (e.g., trailers) |  |  |
| Exterior lighting is designed to minimize light spill, glare, and sky glow through the use of non-glare, full cut-off fixtures |  |  |
| Screening and Landscaping |  |  |
| Screening and landscaping are provided along property edges adjacent to roadways |  |  |
| Screening and landscaping are provided between parking areas, roadways, and buildings |  |  |
| Landscaping is used to break up larger parking areas |  |  |
| Screening and landscaping are provided between buildings and parking areas |  |  |
| Landscaping includes a mix of coniferous and deciduous vegetation, with low plantings and taller tree species at regular intervals |  |  |

|  | Criteria Met? | Comments / Drawing Reference |
| --- | --- | --- |
| Large areas of bark mulch, bare earth, landscape fabric, gravel, or similar materials are avoided |  |  |
| Outdoor and rooftop service installations (mechanical, electrical, etc.) are enclosed with screening structures integrated with building design |  |  |
| Mechanical equipment is not visible from street level (except renewable energy equipment such as solar panels or windmills) |  |  |
| Where mechanical equipment visibility is unavoidable, planting is used to screen equipment and improve building façade appearance |  |  |
| Transitions |  |  |
| Transitions to adjacent mixed-use or residential properties protect privacy and mitigate noise, glare, and shadow impacts |  |  |
| A minimum 3.0 m landscaped buffer is provided where adjacent to residential or mixed-use properties |  |  |
| Fencing combined with dense shrub plantings or hedges is provided where appropriate |  |  |
| Trees capable of screening up to a 3-storey multi-unit dwelling are provided |  |  |
| Commercial buildings are sited to afford maximum privacy to adjacent residential and rural properties |  |  |
| Parking |  |  |
| Parking lots with more than 10 stalls include one landscape island for every 10 stalls |  |  |
| Bicycle parking is provided and is conveniently and visibly located adjacent to the main entrance |  |  |